## Kalibrasi 2026
JADWAL VERIFIKASI MEASUREMENT 2025
No. | DESCRIPTION SPECIAL TOOL | Nama Alat ukur | EXPIRE DET | QTY OLD | TAHAP 1 | ID | TAHAP 2 |  | TAHAP 3 |  | TAHAP 4 |  | TAHAP 5 |  | TAHAP 6 |  | TAHAP 7
[8 empty] | ID |  | ID |  | ID |  | ID |  | ID
1 | Measurment | MICRO METER 0 - 25 MM |  | 2 | 1 | BRC-ST-303
2 | Measurment | MICRO METER 25 - 50 MM |  | 2 | 1 | BRC-ST-304
3 | Measurment | MICRO METER ,50 - 75 MM |  | 2 | 1 | BRC-ST-305
4 | Measurment | MICRO METER ,75 - 100 MM |  | 3 | 1 | BRC-ST-080
5 | Measurment | MICRO METER ,100 - 125 MM |  | 2 | 1 | BRC-ST-306
6 | Measurment | MICRO METER, 125 - 150 MM |  | 3 | 1 | BRC-ST-307
7 | Measurment | MICRO METER, 0 - 150 MM |  | 2 | 1 | BRC-ST-328
8 | Measurment | MICRO METER,150 - 175 MM |  | 2 | 1 | BRC-ST-092
9 | Measurment | MICRO METER,175 - 200 MM |  | 2 | 1 | BRC-ST-309
10 | Measurment | MICRO METER,200 - 225 MM |  | 1
11 | Measurment | MICRO METER,225 - 250 MM |  | 1
12 | Measurment | MICRO METER,250 - 275 MM |  | 1
13 | Measurment | MICRO METER,275 - 300 MM |  | 1
14 | Measurment | MICRO METER,200 - 300 MM |  | 1
15 | Measurment | MICRO METER,300 - 400 MM |  | 2 | 1 | BRC-ST-119
16 | Measurment | MICRO METER,100 - 200 MM |  | 2 | 1 | BRC-ST-308
17 | Measurment | MICRO METER, 400 - 500 MM |  | 1
18 | Measurment | MICRO METER,500 - 600 MM |  | 1
19 | Measurment | MICRO METER,600 - 700 MM |  | 1
20 | Measurment | MICRO METER 700 - 800 MM |  | 1
21 | Measurment | MICRO METER 800 - 900 MM |  | 1
22 | Measurment | BORE GAUGE,18 - 35 MM |  | 1
23 | Measurment | BORE GAUGE,35 - 60 MM |  | 2 | 1 | BRC-ST-298
24 | Measurment | BORE GAUGE,50 - 150 MM |  | 3 | 1 | BRC-ST-299
25 | Measurment | BORE GAUGE,100 - 160 MM |  | 1
26 | Measurment | BORE GAUGE,160 - 250 MM |  | 1
28 | Measurment | BORE GAUGE,250 - 400 MM |  | 1
29 | Measurment | DIAL GAUGE MAGNETIC SET,23 |  | 5
30 | Measurment | DEEP GAUGE 0-100/0.01 MM |  | 1
31 | Measurment | DIAL VERNIER CALIPER 0-200 MM / 0.01MM |  | 2 | 1 | BRC-ST-268
32 | Measurment | DEEP CALIPER DIGITAL 0-300 MM / 0.05MM |  | 1
33 | Measurment | FLOW METER ,1IN,FILL-RITE |  | 1
34 | Measurment | VERNIER CALIPER 0-500 MM / 0.05MM |  | 1
35 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM |  | 2
36 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM |  | 2 | 1 | BRC-ST-310
37 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM |  | 3 | 1 | BRC-ST-198
38 | Measurment | TICKNES TOOL,PENGUKUR KETEBALAN |  | 2
|  |  |  | 63 | 16 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | TGL |  | TGL |  | TGL |  | TGL |  | TGL |  | TGL |  | TGL
2026-11-03
[5 empty] | & |  | & |  | & |  | &

## Januari 2026
JADWAL VERIFIKASI MEASUREMENT 2025
No. | DESCRIPTION SPECIAL TOOL | Nama Alat ukur | Brand | ID ON SITE | Date Inpection | Result (Ok / Not Ok) | Remak
1 | Measurment | MICRO METER,0 - 25 MM | MITUTOYO | BRC-ST-077 | 2026-01-05 | OK | RFU
2 | Measurment | MICRO METER,0 - 25 MM | MITUTOYO | BRC-ST-303 | 2026-01-05 | OK | RFU
3 | Measurment | MICRO METER,25 - 50 MM | MITUTOYO | BRC-ST-078 | 2026-01-05 | OK | RFU
4 | Measurment | MICRO METER,25 - 50 MM | MITUTOYO | BRC-ST-304 | 2026-01-05 | OK | RFU
5 | Measurment | MICRO METER,50 - 75 MM | MITUTOYO | BRC-ST-287 | 2026-01-05 | OK | RFU
6 | Measurment | MICRO METER,50 - 75 MM | MITUTOYO | BRC-ST-305 | 2026-01-05 | OK | RFU
7 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-080 | 2026-01-05 | OK | RFU
8 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-291 | 2026-01-05 | OK | RFU
9 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-292 | 2026-01-05 | OK | RFU
10 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-081 | 2026-01-05 | OK | RFU
11 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-306 | 2026-01-05 | OK | RFU
12 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-082 | 2026-01-05 | OK | RFU
13 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-307 | 2026-01-05 | OK | RFU
14 | Measurment | MICRO METER,150 - 175 MM | MITUTOYO | BRC-ST-083 | 2026-01-05 | OK | RFU
15 | Measurment | MICRO METER,150 - 175 MM | MITUTOYO | BRC-ST-092 | 2026-01-05 | OK | RFU
16 | Measurment | MICRO METER,175 - 200 MM | MITUTOYO | BRC-ST-090 | 2026-01-05 | OK | RFU
17 | Measurment | MICRO METER,175 - 200 MM | MITUTOYO | BRC-ST-309 | 2026-01-05 | OK | RFU
18 | Measurment | MICRO METER,200 - 225 MM | MITUTOYO | BRC-ST-096 | 2026-01-05 | OK | RFU
19 | Measurment | MICRO METER,225 - 250 MM | MITUTOYO | BRC-ST-094 | 2026-01-05 | OK | RFU
20 | Measurment | MICRO METER,250 - 275 MM | MITUTOYO | BRC-ST-097 | 2026-01-05 | OK | RFU
21 | Measurment | MICRO METER,275 - 300 MM | MITUTOYO | BRC-ST-095 | 2026-01-05 | OK | RFU
22 | Measurment | MICRO METER,300 - 400 MM | MITUTOYO | BRC-ST-317 | 2026-01-05 | OK | RFU
23 | Measurment | MICRO METER,300 - 400 MM | MITUTOYO | BRC-ST-119 | 2026-01-05 | OK | RFU
24 | Measurment | MICRO METER,400 - 500 MM | MITUTOYO | BRC-ST-240 | 2026-01-05 | OK | RFU
25 | Measurment | MICRO METER,500 - 600 MM | MITUTOYO | BRC-ST-290 | 2026-01-05 | OK | RFU
26 | Measurment | MICRO METER,600 - 700 MM | MITUTOYO | BRC-ST-241 | 2026-01-05 | OK | RFU
27 | Measurment | MICRO METER 700 - 800 MM | MITUTOYO | BRC-ST-011-10-0423 | 2026-01-05 | OK | RFU
28 | Measurment | MICRO METER 800 - 900 MM | MITUTOYO | BRC-ST-012-10-0424 | 2026-01-05 | OK | RFU
29 | Measurment | MICRO METER,100 - 200 MM | MITUTOYO | BRC-ST-093 | 2026-01-05 | OK | RFU
30 | Measurment | MICRO METER,100 - 200 MM | MITUTOYO | BRC-ST-308 | 2026-01-05 | OK | RFU
31 | Measurment | MICRO METER,200 - 300 MM | MITUTOYO | BRC-ST-316 | 2026-01-05 | OK | RFU
32 | Measurment | BORE GAUGE,18 - 35 MM | MITUTOYO | BRC-ST-089 | 2026-01-05 | OK | RFU
33 | Measurment | BORE GAUGE,35 - 60 MM | MITUTOYO | BRC-ST-088 | 2026-01-05 | OK | RFU
34 | Measurment | BORE GAUGE,35 - 60 MM | MITUTOYO | BRC-ST-298 | 2026-01-05 | OK | RFU
35 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-299 | 2026-01-05 | OK | RFU
36 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-300 | 2026-01-05 | OK | RFU
37 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-275 | 2026-01-05 | OK | RFU
38 | Measurment | BORE GAUGE,160 - 250 MM | MITUTOYO | BRC-ST-087 | 2026-01-05 | OK | RFU
39 | Measurment | BORE GAUGE,250 - 400 MM | MITUTOYO | BRC-ST-086 | 2026-01-05 | OK | RFU
40 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM | MITUTOYO | BRC-ST-302 | 2026-01-05 | OK | RFU
41 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM | MITUTOYO | BRC-ST-198 | 2026-01-05 | OK | RFU
42 | Measurment | MICRO METER,TUBULAR,0 - 300 MM | MITUTOYO | BRC-ST-079 | 2026-01-05 | OK | RFU
43 | Measurment | BORE GAUGE,100 - 160 MM | MITUTOYO | BRC-ST-085 | 2026-01-05 | OK | RFU
44 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-295 | 2026-01-05 | OK | RFU
45 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-296 | 2026-01-05 | OK | RFU
46 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-297 | 2026-01-05 | OK | RFU
47 | Measurment | GAUGE,DEPTH,DIGITAL,0-300/0.01 | MITUTOYO | BRC-ST-315 | 2026-01-05 | OK | RFU
48 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-146 | 2026-01-05 | OK | RFU
49 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-311 | 2026-01-05 | OK | RFU
50 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-312 | 2026-01-05 | OK | RFU
51 | Measurment | VERNIER CALIPER,DIG,ABS,0-200/0.01 MM | MITUTOYO | BRC-ST-268 | 2026-01-05 | OK | RFU
52 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-148 | 2026-01-05 | OK | RFU
53 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-289 | 2026-01-05 | OK | RFU
54 | Measurment | VERNIER CALIPER 0-500 MM / 0.05MM | MITUTOYO | BRC-ST-120 | 2026-01-05 | OK | RFU
55 | Measurment | DIAL VERNIER CALIPER 0-200 MM / 0.01MM | MITUTOYO | BRC-ST-278 | 2026-01-05 | OK | RFU
56 | Measurment | DIAL GAUGE MAGNETIC SET,23 | MITUTOYO | BRC-ST-098 | 2026-01-05 | OK | RFU
57 | Measurment | DIAL GAUGE MAGNETIC SET,24 | MITUTOYO | BRC-ST-099 | 2026-01-05 | OK | RFU
58 | Measurment | DIAL GAUGE MAGNETIC SET,25 | MITUTOYO | BRC-ST-100 | 2026-01-05 | OK | RFU
59 | Measurment | DIAL GAUGE MAGNETIC SET,26 | MITUTOYO | BRC-ST-101 | 2026-01-05 | OK | RFU
60 | Measurment | DIAL GAUGE MAGNETIC SET,27 | MITUTOYO | BRC-ST-102 | 2026-01-05 | OK | RFU
61 | Measurment | PUSH FULL SCALE 0-50 Kg/f | IMADA | BRC-ST-288 | 2026-01-05 | OK | RFU
62 | Measurment | RADIUS GAUGE (15-30 PRAIS) | MITUTOYO | BRC-ST-277 | 2026-01-05 | OK | RFU
63 | Measurment | RADIUS GAUGE (26 PRAIS) | MITUTOYO | BRC-ST-276 | 2026-01-05 | OK | RFU
64 | Measurment | SPRING TESTER | CATERPILAR | BRC-ST-062 | 2026-01-05 | OK | RFU
65 | Measurment | Square Combination 0-300 mm | MITUTOYO | BRC-ST-267 | 2026-01-05 | OK | RFU
66 | Measurment | STAND MAGNETIC | MITUTOYO | BRC-ST-280 | 2026-01-05 | OK | RFU
67 | Measurment | STAND MAGNETIC FLEXIBLE | MITUTOYO | BRC-ST-279 | 2026-01-05 | OK | RFU
68 | Measurment | TACHOMETER | KOMATSU (799-205-1101) | BRC-ST-072 | 2026-01-05 | OK | RFU
69 | Measurment | TETRA GAUGE | CAT | BRC-ST-035-10-0799 | 2026-01-05 | OK | RFU
70 | Measurment | TICKNES TOOL,PENGUKUR KETEBALAN | MITUTOYO | BRC-ST-076 | 2026-01-05 | OK | RFU
71 | Measurment | TOOL ,TESTER,HARDNESS,DIG,T,D&PRINT L | KRISBOW | BRC-ST-261 | 2026-01-05 | OK | RFU
72 | Measurment | BLOW BY CHECKER,KOMATSU | KOMATSU (799-201-1506) | BRC-ST-071 | 2026-01-05 | OK | RFU
73 | Measurment | DEEP GAUGE 0-100/0.01 MM | MITUTOYO | BRC-ST-254 | 2026-01-05 | OK | RFU
74 | Measurment | DIAL INDICATOR 0,01 | MITUTOYO | BRC-ST-281 | 2026-01-05 | OK | RFU
75 | Measurment | MAGNETIC PARTICEL INSPECTION (MPI 2 kg) | MAGNAFLUX | BRC-ST-151 | 2026-01-05 | OK | RFU
76 | Measurment | MAGNETIC PARTICEL INSPECTION (MPI 5 kg) | MAGNAFLUX | BRC-ST-145 | 2026-01-05 | OK | RFU
| Inspect by |  |  | Checked by
| Dani Oktariyanto | Asmawan |  | Dwi Indra |  | A Kusminto

## Februari 2026
JADWAL VERIFIKASI MEASUREMENT 2025
No. | DESCRIPTION SPECIAL TOOL | Nama Alat ukur | Brand | ID ON SITE | Date Inpection | Result (Ok / Not Ok) | Remak
1 | Measurment | MICRO METER,0 - 25 MM | MITUTOYO | BRC-ST-077 | 2026-02-04 | OK | RFU
2 | Measurment | MICRO METER,0 - 25 MM | MITUTOYO | BRC-ST-303 | 2026-02-04 | OK | RFU
3 | Measurment | MICRO METER,25 - 50 MM | MITUTOYO | BRC-ST-078 | 2026-02-04 | OK | RFU
4 | Measurment | MICRO METER,25 - 50 MM | MITUTOYO | BRC-ST-304 | 2026-02-04 | OK | RFU
5 | Measurment | MICRO METER,50 - 75 MM | MITUTOYO | BRC-ST-287 | 2026-02-04 | OK | RFU
6 | Measurment | MICRO METER,50 - 75 MM | MITUTOYO | BRC-ST-305 | 2026-02-04 | OK | RFU
7 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-080 | 2026-02-04 | OK | RFU
8 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-291 | 2026-02-04 | OK | RFU
9 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-292 | 2026-02-04 | OK | RFU
10 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-081 | 2026-02-04 | OK | RFU
11 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-306 | 2026-02-04 | OK | RFU
12 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-082 | 2026-02-04 | OK | RFU
13 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-307 | 2026-02-04 | OK | RFU
14 | Measurment | MICRO METER,150 - 175 MM | MITUTOYO | BRC-ST-083 | 2026-02-04 | OK | RFU
15 | Measurment | MICRO METER,150 - 175 MM | MITUTOYO | BRC-ST-092 | 2026-02-04 | OK | RFU
16 | Measurment | MICRO METER,175 - 200 MM | MITUTOYO | BRC-ST-090 | 2026-02-04 | OK | RFU
17 | Measurment | MICRO METER,175 - 200 MM | MITUTOYO | BRC-ST-309 | 2026-02-04 | OK | RFU
18 | Measurment | MICRO METER,200 - 225 MM | MITUTOYO | BRC-ST-096 | 2026-02-04 | OK | RFU
19 | Measurment | MICRO METER,225 - 250 MM | MITUTOYO | BRC-ST-094 | 2026-02-04 | OK | RFU
20 | Measurment | MICRO METER,250 - 275 MM | MITUTOYO | BRC-ST-097 | 2026-02-04 | OK | RFU
21 | Measurment | MICRO METER,275 - 300 MM | MITUTOYO | BRC-ST-095 | 2026-02-04 | OK | RFU
22 | Measurment | MICRO METER,300 - 400 MM | MITUTOYO | BRC-ST-317 | 2026-02-04 | OK | RFU
23 | Measurment | MICRO METER,300 - 400 MM | MITUTOYO | BRC-ST-119 | 2026-02-04 | OK | RFU
24 | Measurment | MICRO METER,400 - 500 MM | MITUTOYO | BRC-ST-240 | 2026-02-04 | OK | RFU
25 | Measurment | MICRO METER,500 - 600 MM | MITUTOYO | BRC-ST-290 | 2026-02-04 | OK | RFU
26 | Measurment | MICRO METER,600 - 700 MM | MITUTOYO | BRC-ST-241 | 2026-02-04 | OK | RFU
27 | Measurment | MICRO METER 700 - 800 MM | MITUTOYO | BRC-ST-011-10-0423 | 2026-02-04 | OK | RFU
28 | Measurment | MICRO METER 800 - 900 MM | MITUTOYO | BRC-ST-012-10-0424 | 2026-02-04 | OK | RFU
29 | Measurment | MICRO METER,100 - 200 MM | MITUTOYO | BRC-ST-093 | 2026-02-04 | OK | RFU
30 | Measurment | MICRO METER,100 - 200 MM | MITUTOYO | BRC-ST-308 | 2026-02-04 | OK | RFU
31 | Measurment | MICRO METER,200 - 300 MM | MITUTOYO | BRC-ST-316 | 2026-02-04 | OK | RFU
32 | Measurment | BORE GAUGE,18 - 35 MM | MITUTOYO | BRC-ST-089 | 2026-02-04 | OK | RFU
33 | Measurment | BORE GAUGE,35 - 60 MM | MITUTOYO | BRC-ST-088 | 2026-02-04 | OK | RFU
34 | Measurment | BORE GAUGE,35 - 60 MM | MITUTOYO | BRC-ST-298 | 2026-02-04 | OK | RFU
35 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-299 | 2026-02-04 | OK | RFU
36 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-300 | 2026-02-04 | OK | RFU
37 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-275 | 2026-02-04 | OK | RFU
38 | Measurment | BORE GAUGE,160 - 250 MM | MITUTOYO | BRC-ST-087 | 2026-02-04 | OK | RFU
39 | Measurment | BORE GAUGE,250 - 400 MM | MITUTOYO | BRC-ST-086 | 2026-02-04 | OK | RFU
40 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM | MITUTOYO | BRC-ST-302 | 2026-02-04 | OK | RFU
41 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM | MITUTOYO | BRC-ST-198 | 2026-02-04 | OK | RFU
42 | Measurment | MICRO METER,TUBULAR,0 - 300 MM | MITUTOYO | BRC-ST-079 | 2026-02-04 | OK | RFU
43 | Measurment | BORE GAUGE,100 - 160 MM | MITUTOYO | BRC-ST-085 | 2026-02-04 | OK | RFU
44 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-295 | 2026-02-04 | OK | RFU
45 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-296 | 2026-02-04 | OK | RFU
46 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-297 | 2026-02-04 | OK | RFU
47 | Measurment | GAUGE,DEPTH,DIGITAL,0-300/0.01 | MITUTOYO | BRC-ST-315 | 2026-02-04 | OK | RFU
48 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-146 | 2026-02-04 | OK | RFU
49 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-311 | 2026-02-04 | OK | RFU
50 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-312 | 2026-02-04 | OK | RFU
51 | Measurment | VERNIER CALIPER,DIG,ABS,0-200/0.01 MM | MITUTOYO | BRC-ST-268 | 2026-02-04 | OK | RFU
52 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-148 | 2026-02-04 | OK | RFU
53 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-289 | 2026-02-04 | OK | RFU
54 | Measurment | VERNIER CALIPER 0-500 MM / 0.05MM | MITUTOYO | BRC-ST-120 | 2026-02-04 | OK | RFU
55 | Measurment | DIAL VERNIER CALIPER 0-200 MM / 0.01MM | MITUTOYO | BRC-ST-278 | 2026-02-04 | OK | RFU
56 | Measurment | DIAL GAUGE MAGNETIC SET,23 | MITUTOYO | BRC-ST-098 | 2026-02-04 | OK | RFU
57 | Measurment | DIAL GAUGE MAGNETIC SET,24 | MITUTOYO | BRC-ST-099 | 2026-02-04 | OK | RFU
58 | Measurment | DIAL GAUGE MAGNETIC SET,25 | MITUTOYO | BRC-ST-100 | 2026-02-04 | OK | RFU
59 | Measurment | DIAL GAUGE MAGNETIC SET,26 | MITUTOYO | BRC-ST-101 | 2026-02-04 | OK | RFU
60 | Measurment | DIAL GAUGE MAGNETIC SET,27 | MITUTOYO | BRC-ST-102 | 2026-02-04 | OK | RFU
61 | Measurment | PUSH FULL SCALE 0-50 Kg/f | IMADA | BRC-ST-288 | 2026-02-04 | OK | RFU
62 | Measurment | RADIUS GAUGE (15-30 PRAIS) | MITUTOYO | BRC-ST-277 | 2026-02-04 | OK | RFU
63 | Measurment | RADIUS GAUGE (26 PRAIS) | MITUTOYO | BRC-ST-276 | 2026-02-04 | OK | RFU
64 | Measurment | SPRING TESTER | CATERPILAR | BRC-ST-062 | 2026-02-04 | OK | RFU
65 | Measurment | Square Combination 0-300 mm | MITUTOYO | BRC-ST-267 | 2026-02-04 | OK | RFU
66 | Measurment | STAND MAGNETIC | MITUTOYO | BRC-ST-280 | 2026-02-04 | OK | RFU
67 | Measurment | STAND MAGNETIC FLEXIBLE | MITUTOYO | BRC-ST-279 | 2026-02-04 | OK | RFU
68 | Measurment | TACHOMETER | KOMATSU (799-205-1101) | BRC-ST-072 | 2026-02-04 | OK | RFU
69 | Measurment | TETRA GAUGE | CAT | BRC-ST-035-10-0799 | 2026-02-04 | OK | RFU
70 | Measurment | TICKNES TOOL,PENGUKUR KETEBALAN | MITUTOYO | BRC-ST-076 | 2026-02-04 | OK | RFU
71 | Measurment | TOOL ,TESTER,HARDNESS,DIG,T,D&PRINT L | KRISBOW | BRC-ST-261 | 2026-02-04 | OK | RFU
72 | Measurment | BLOW BY CHECKER,KOMATSU | KOMATSU (799-201-1506) | BRC-ST-071 | 2026-02-04 | OK | RFU
73 | Measurment | DEEP GAUGE 0-100/0.01 MM | MITUTOYO | BRC-ST-254 | 2026-02-04 | OK | RFU
74 | Measurment | DIAL INDICATOR 0,01 | MITUTOYO | BRC-ST-281 | 2026-02-04 | OK | RFU
75 | Measurment | MAGNETIC PARTICEL INSPECTION (MPI 2 kg) | MAGNAFLUX | BRC-ST-151 | 2026-02-04 | OK | RFU
76 | Measurment | MAGNETIC PARTICEL INSPECTION (MPI 5 kg) | MAGNAFLUX | BRC-ST-145 | 2026-02-04 | OK | RFU
| Inspect by |  |  | Checked by
| Dani Oktariyanto | Asmawan |  | Dwi Indra |  | A Kusminto

## Maret 2026
JADWAL VERIFIKASI MEASUREMENT 2026
No. | DESCRIPTION SPECIAL TOOL | Nama Alat ukur | Brand | ID ON SITE | Date Inpection | Result (Ok / Not Ok) | Remak
1 | Measurment | MICRO METER,0 - 25 MM | MITUTOYO | BRC-ST-077 | 2026-03-06 | OK | RFU
2 | Measurment | MICRO METER,0 - 25 MM | MITUTOYO | BRC-ST-303 | 2026-03-06 | OK | RFU
3 | Measurment | MICRO METER,25 - 50 MM | MITUTOYO | BRC-ST-078 | 2026-03-06 | OK | RFU
4 | Measurment | MICRO METER,25 - 50 MM | MITUTOYO | BRC-ST-304 | 2026-03-06 | OK | RFU
5 | Measurment | MICRO METER,50 - 75 MM | MITUTOYO | BRC-ST-287 | 2026-03-06 | OK | RFU
6 | Measurment | MICRO METER,50 - 75 MM | MITUTOYO | BRC-ST-305 | 2026-03-06 | OK | RFU
7 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-080 | 2026-03-06 | OK | RFU
8 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-291 | 2026-03-06 | OK | RFU
9 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-292 | 2026-03-06 | OK | RFU
10 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-081 | 2026-03-06 | OK | RFU
11 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-306 | 2026-03-06 | OK | RFU
12 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-082 | 2026-03-06 | OK | RFU
13 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-307 | 2026-03-06 | OK | RFU
14 | Measurment | MICRO METER,150 - 175 MM | MITUTOYO | BRC-ST-083 | 2026-03-06 | OK | RFU
15 | Measurment | MICRO METER,150 - 175 MM | MITUTOYO | BRC-ST-092 | 2026-03-06 | OK | RFU
16 | Measurment | MICRO METER,175 - 200 MM | MITUTOYO | BRC-ST-090 | 2026-03-06 | OK | RFU
17 | Measurment | MICRO METER,175 - 200 MM | MITUTOYO | BRC-ST-309 | 2026-03-06 | OK | RFU
18 | Measurment | MICRO METER,200 - 225 MM | MITUTOYO | BRC-ST-096 | 2026-03-06 | OK | RFU
19 | Measurment | MICRO METER,225 - 250 MM | MITUTOYO | BRC-ST-094 | 2026-03-06 | OK | RFU
20 | Measurment | MICRO METER,250 - 275 MM | MITUTOYO | BRC-ST-097 | 2026-03-06 | OK | RFU
21 | Measurment | MICRO METER,275 - 300 MM | MITUTOYO | BRC-ST-095 | 2026-03-06 | OK | RFU
22 | Measurment | MICRO METER,300 - 400 MM | MITUTOYO | BRC-ST-317 | 2026-03-06 | OK | RFU
23 | Measurment | MICRO METER,300 - 400 MM | MITUTOYO | BRC-ST-119 | 2026-03-06 | OK | RFU
24 | Measurment | MICRO METER,400 - 500 MM | MITUTOYO | BRC-ST-240 | 2026-03-06 | OK | RFU
25 | Measurment | MICRO METER,500 - 600 MM | MITUTOYO | BRC-ST-290 | 2026-03-06 | OK | RFU
26 | Measurment | MICRO METER,600 - 700 MM | MITUTOYO | BRC-ST-241 | 2026-03-06 | OK | RFU
27 | Measurment | MICRO METER 700 - 800 MM | MITUTOYO | BRC-ST-011-10-0423 | 2026-03-06 | OK | RFU
28 | Measurment | MICRO METER 800 - 900 MM | MITUTOYO | BRC-ST-012-10-0424 | 2026-03-06 | OK | RFU
29 | Measurment | MICRO METER,100 - 200 MM | MITUTOYO | BRC-ST-093 | 2026-03-06 | OK | RFU
30 | Measurment | MICRO METER,100 - 200 MM | MITUTOYO | BRC-ST-308 | 2026-03-06 | OK | RFU
31 | Measurment | MICRO METER,200 - 300 MM | MITUTOYO | BRC-ST-316 | 2026-03-06 | OK | RFU
32 | Measurment | BORE GAUGE,18 - 35 MM | MITUTOYO | BRC-ST-089 | 2026-03-06 | OK | RFU
33 | Measurment | BORE GAUGE,35 - 60 MM | MITUTOYO | BRC-ST-088 | 2026-03-06 | OK | RFU
34 | Measurment | BORE GAUGE,35 - 60 MM | MITUTOYO | BRC-ST-298 | 2026-03-06 | OK | RFU
35 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-299 | 2026-03-06 | OK | RFU
36 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-300 | 2026-03-06 | OK | RFU
37 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-275 | 2026-03-06 | OK | RFU
38 | Measurment | BORE GAUGE,160 - 250 MM | MITUTOYO | BRC-ST-087 | 2026-03-06 | OK | RFU
39 | Measurment | BORE GAUGE,250 - 400 MM | MITUTOYO | BRC-ST-086 | 2026-03-06 | OK | RFU
40 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM | MITUTOYO | BRC-ST-302 | 2026-03-06 | OK | RFU
41 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM | MITUTOYO | BRC-ST-198 | 2026-03-06 | OK | RFU
42 | Measurment | MICRO METER,TUBULAR,0 - 300 MM | MITUTOYO | BRC-ST-079 | 2026-03-06 | OK | RFU
43 | Measurment | BORE GAUGE,100 - 160 MM | MITUTOYO | BRC-ST-085 | 2026-03-06 | OK | RFU
44 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-295 | 2026-03-06 | OK | RFU
45 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-296 | 2026-03-06 | OK | RFU
46 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-297 | 2026-03-06 | OK | RFU
47 | Measurment | GAUGE,DEPTH,DIGITAL,0-300/0.01 | MITUTOYO | BRC-ST-315 | 2026-03-06 | OK | RFU
48 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-146 | 2026-03-06 | OK | RFU
49 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-311 | 2026-03-06 | OK | RFU
50 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-312 | 2026-03-06 | OK | RFU
51 | Measurment | VERNIER CALIPER,DIG,ABS,0-200/0.01 MM | MITUTOYO | BRC-ST-268 | 2026-03-06 | OK | RFU
52 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-148 | 2026-03-06 | OK | RFU
53 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-289 | 2026-03-06 | OK | RFU
54 | Measurment | VERNIER CALIPER 0-500 MM / 0.05MM | MITUTOYO | BRC-ST-120 | 2026-03-06 | OK | RFU
55 | Measurment | DIAL VERNIER CALIPER 0-200 MM / 0.01MM | MITUTOYO | BRC-ST-278 | 2026-03-06 | OK | RFU
56 | Measurment | DIAL GAUGE MAGNETIC SET,23 | MITUTOYO | BRC-ST-098 | 2026-03-06 | OK | RFU
57 | Measurment | DIAL GAUGE MAGNETIC SET,24 | MITUTOYO | BRC-ST-099 | 2026-03-06 | OK | RFU
58 | Measurment | DIAL GAUGE MAGNETIC SET,25 | MITUTOYO | BRC-ST-100 | 2026-03-06 | OK | RFU
59 | Measurment | DIAL GAUGE MAGNETIC SET,26 | MITUTOYO | BRC-ST-101 | 2026-03-06 | OK | RFU
60 | Measurment | DIAL GAUGE MAGNETIC SET,27 | MITUTOYO | BRC-ST-102 | 2026-03-06 | OK | RFU
61 | Measurment | PUSH FULL SCALE 0-50 Kg/f | IMADA | BRC-ST-288 | 2026-03-06 | OK | RFU
62 | Measurment | RADIUS GAUGE (15-30 PRAIS) | MITUTOYO | BRC-ST-277 | 2026-03-06 | OK | RFU
63 | Measurment | RADIUS GAUGE (26 PRAIS) | MITUTOYO | BRC-ST-276 | 2026-03-06 | OK | RFU
64 | Measurment | SPRING TESTER | CATERPILAR | BRC-ST-062 | 2026-03-06 | OK | RFU
65 | Measurment | Square Combination 0-300 mm | MITUTOYO | BRC-ST-267 | 2026-03-06 | OK | RFU
66 | Measurment | STAND MAGNETIC | MITUTOYO | BRC-ST-280 | 2026-03-06 | OK | RFU
67 | Measurment | STAND MAGNETIC FLEXIBLE | MITUTOYO | BRC-ST-279 | 2026-03-06 | OK | RFU
68 | Measurment | TACHOMETER | KOMATSU (799-205-1101) | BRC-ST-072 | 2026-03-06 | OK | RFU
69 | Measurment | TETRA GAUGE | CAT | BRC-ST-035-10-0799 | 2026-03-06 | OK | RFU
70 | Measurment | TICKNES TOOL,PENGUKUR KETEBALAN | MITUTOYO | BRC-ST-076 | 2026-03-06 | OK | RFU
71 | Measurment | TOOL ,TESTER,HARDNESS,DIG,T,D&PRINT L | KRISBOW | BRC-ST-261 | 2026-03-06 | OK | RFU
72 | Measurment | BLOW BY CHECKER,KOMATSU | KOMATSU (799-201-1506) | BRC-ST-071 | 2026-03-06 | OK | RFU
73 | Measurment | DEEP GAUGE 0-100/0.01 MM | MITUTOYO | BRC-ST-254 | 2026-03-06 | OK | RFU
74 | Measurment | DIAL INDICATOR 0,01 | MITUTOYO | BRC-ST-281 | 2026-03-06 | OK | RFU
75 | Measurment | MAGNETIC PARTICEL INSPECTION (MPI 2 kg) | MAGNAFLUX | BRC-ST-151 | 2026-03-06 | OK | RFU
76 | Measurment | MAGNETIC PARTICEL INSPECTION (MPI 5 kg) | MAGNAFLUX | BRC-ST-145 | 2026-03-06 | OK | RFU
| Inspect by |  |  | Checked by
| Dani Oktariyanto | Asmawan |  | Dwi Indra |  | A Kusminto

## April 2026
JADWAL VERIFIKASI MEASUREMENT 2026
No. | DESCRIPTION SPECIAL TOOL | Nama Alat ukur | Brand | ID ON SITE | Date Inpection | Result (Ok / Not Ok) | Remak | TANGGAL BST KE LOGISTIK | REMAKS
1 | Measurment | MICRO METER,0 - 25 MM | MITUTOYO | BRC-ST-077 | 2026-02-04 |  | RFU
2 | Measurment | MICRO METER,0 - 25 MM | MITUTOYO | BRC-ST-303 | 2026-02-04 |  | RFU
3 | Measurment | MICRO METER,25 - 50 MM | MITUTOYO | BRC-ST-078 | 2026-02-04 |  | RFU
4 | Measurment | MICRO METER,25 - 50 MM | MITUTOYO | BRC-ST-304 | 2026-02-04 |  | RFU
5 | Measurment | MICRO METER,50 - 75 MM | MITUTOYO | BRC-ST-287 | 2026-02-04 |  | RFU
6 | Measurment | MICRO METER,50 - 75 MM | MITUTOYO | BRC-ST-305 | 2026-02-04 |  | RFU
7 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-080 | 2026-02-04 |  | RFU
8 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-291 | 2026-02-04 |  | RFU
9 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-292 | 2026-02-04 |  | RFU
10 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-081 | 2026-02-04 |  | RFU
11 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-306 | 2026-02-04 |  | RFU
12 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-082 | 2026-02-04 |  | RFU
13 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-307 | 2026-02-04 |  | RFU
14 | Measurment | MICRO METER,150 - 175 MM | MITUTOYO | BRC-ST-083 | 2026-02-04 |  | RFU
15 | Measurment | MICRO METER,150 - 175 MM | MITUTOYO | BRC-ST-092 | 2026-02-04 |  | RFU
16 | Measurment | MICRO METER,175 - 200 MM | MITUTOYO | BRC-ST-090 | 2026-02-04 |  | RFU
17 | Measurment | MICRO METER,175 - 200 MM | MITUTOYO | BRC-ST-309 | 2026-02-04 |  | RFU
18 | Measurment | MICRO METER,200 - 225 MM | MITUTOYO | BRC-ST-096 | 2026-02-04 |  | RFU
19 | Measurment | MICRO METER,225 - 250 MM | MITUTOYO | BRC-ST-094 | 2026-02-04 |  | RFU
20 | Measurment | MICRO METER,250 - 275 MM | MITUTOYO | BRC-ST-097 | 2026-02-04 |  | RFU
21 | Measurment | MICRO METER,275 - 300 MM | MITUTOYO | BRC-ST-095 | 2026-02-04 |  | RFU
22 | Measurment | MICRO METER,300 - 400 MM | MITUTOYO | BRC-ST-317 | 2026-02-04 |  | RFU
23 | Measurment | MICRO METER,300 - 400 MM | MITUTOYO | BRC-ST-119 | 2026-02-04 |  | RFU
24 | Measurment | MICRO METER,400 - 500 MM | MITUTOYO | BRC-ST-240 | 2026-02-04 |  | RFU
25 | Measurment | MICRO METER,500 - 600 MM | MITUTOYO | BRC-ST-290 | 2026-02-04 |  | RFU
26 | Measurment | MICRO METER,600 - 700 MM | MITUTOYO | BRC-ST-241 | 2026-02-04 |  | RFU
27 | Measurment | MICRO METER 700 - 800 MM | MITUTOYO | BRC-ST-011-10-0423 | 2026-02-04 |  | RFU
28 | Measurment | MICRO METER 800 - 900 MM | MITUTOYO | BRC-ST-012-10-0424 | 2026-02-04 |  | RFU
29 | Measurment | MICRO METER,100 - 200 MM | MITUTOYO | BRC-ST-093 | 2026-02-04 |  | RFU
30 | Measurment | MICRO METER,100 - 200 MM | MITUTOYO | BRC-ST-308 | 2026-02-04 |  | RFU
31 | Measurment | MICRO METER,200 - 300 MM | MITUTOYO | BRC-ST-316 | 2026-02-04 |  | RFU
32 | Measurment | BORE GAUGE,18 - 35 MM | MITUTOYO | BRC-ST-089 | 2026-02-04 |  | RFU
33 | Measurment | BORE GAUGE,35 - 60 MM | MITUTOYO | BRC-ST-088 | 2026-02-04 |  | RFU
34 | Measurment | BORE GAUGE,35 - 60 MM | MITUTOYO | BRC-ST-298 | 2026-02-04 |  | RFU
35 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-299 | 2026-02-04 |  | RFU
36 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-300 | 2026-02-04 |  | RFU
37 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-275 | 2026-02-04 |  | RFU
38 | Measurment | BORE GAUGE,160 - 250 MM | MITUTOYO | BRC-ST-087 | 2026-02-04 |  | RFU
39 | Measurment | BORE GAUGE,250 - 400 MM | MITUTOYO | BRC-ST-086 | 2026-02-04 |  | RFU
40 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM | MITUTOYO | BRC-ST-302 | 2026-02-04 |  | RFU
41 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM | MITUTOYO | BRC-ST-198 | 2026-02-04 |  | RFU
42 | Measurment | MICRO METER,TUBULAR,0 - 300 MM | MITUTOYO | BRC-ST-079 | 2026-02-04 |  | RFU
43 | Measurment | BORE GAUGE,100 - 160 MM | MITUTOYO | BRC-ST-085 | 2026-02-04 |  | RFU
44 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-295 | 2026-02-04 |  | RFU
45 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-296 | 2026-02-04 |  | RFU
46 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-297 | 2026-02-04 |  | RFU
47 | Measurment | GAUGE,DEPTH,DIGITAL,0-300/0.01 | MITUTOYO | BRC-ST-315 | 2026-02-04 |  | RFU
48 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-310 | 2026-02-04 |  | RFU
49 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-311 | 2026-02-04 |  | RFU
50 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-312 | 2026-02-04 |  | RFU
51 | Measurment | VERNIER CALIPER,DIG,ABS,0-200/0.01 MM | MITUTOYO | BRC-ST-268 | 2026-02-04 |  | RFU
52 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-148 | 2026-02-04 |  | RFU
53 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-289 | 2026-02-04 |  | RFU
54 | Measurment | VERNIER CALIPER 0-500 MM / 0.05MM | MITUTOYO | BRC-ST-120 | 2026-02-04 |  | RFU
55 | Measurment | DIAL VERNIER CALIPER 0-200 MM / 0.01MM | MITUTOYO | BRC-ST-278 | 2026-02-04 |  | RFU
56 | Measurment | DIAL GAUGE MAGNETIC SET,23 | MITUTOYO | BRC-ST-098 | 2026-02-04 |  | RFU
57 | Measurment | DIAL GAUGE MAGNETIC SET,24 | MITUTOYO | BRC-ST-099 | 2026-02-04 |  | RFU
58 | Measurment | DIAL GAUGE MAGNETIC SET,25 | MITUTOYO | BRC-ST-100 | 2026-02-04 |  | RFU
59 | Measurment | DIAL GAUGE MAGNETIC SET,26 | MITUTOYO | BRC-ST-101 | 2026-02-04 |  | RFU
60 | Measurment | DIAL GAUGE MAGNETIC SET,27 | MITUTOYO | BRC-ST-102 | 2026-02-04 |  | RFU
61 | Measurment | PUSH FULL SCALE 0-50 Kg/f | IMADA | BRC-ST-288 | 2026-02-04 |  | RFU
62 | Measurment | RADIUS GAUGE (15-30 PRAIS) | MITUTOYO | BRC-ST-277 | 2026-02-04 |  | RFU
63 | Measurment | RADIUS GAUGE (26 PRAIS) | MITUTOYO | BRC-ST-276 | 2026-02-04 |  | RFU
64 | Measurment | SPRING TESTER | CATERPILAR | BRC-ST-062 | 2026-02-04 |  | RFU
65 | Measurment | Square Combination 0-300 mm | MITUTOYO | BRC-ST-267 | 2026-02-04 |  | RFU
66 | Measurment | STAND MAGNETIC | MITUTOYO | BRC-ST-280 | 2026-02-04 |  | RFU
67 | Measurment | STAND MAGNETIC FLEXIBLE | MITUTOYO | BRC-ST-279 | 2026-02-04 |  | RFU
68 | Measurment | TACHOMETER | KOMATSU (799-205-1101) | BRC-ST-072 | 2026-02-04 |  | RFU
69 | Measurment | TETRA GAUGE | CAT | BRC-ST-035-10-0799 | 2026-02-04 |  | RFU
70 | Measurment | TICKNES TOOL,PENGUKUR KETEBALAN | MITUTOYO | BRC-ST-076 | 2026-02-04 |  | RFU
71 | Measurment | TOOL ,TESTER,HARDNESS,DIG,T,D&PRINT L | KRISBOW | BRC-ST-261 | 2026-02-04 |  | RFU
72 | Measurment | BLOW BY CHECKER,KOMATSU | KOMATSU (799-201-1506) | BRC-ST-071 | 2026-02-04 |  | RFU
73 | Measurment | DEEP GAUGE 0-100/0.01 MM | MITUTOYO | BRC-ST-254 | 2026-02-04 |  | RFU
74 | Measurment | DIAL INDICATOR 0,01 | MITUTOYO | BRC-ST-281 | 2026-02-04 |  | RFU
75 | Measurment | MAGNETIC PARTICEL INSPECTION (MPI 2 kg) | MAGNAFLUX | BRC-ST-151 | 2026-02-04 |  | RFU
76 | Measurment | MAGNETIC PARTICEL INSPECTION (MPI 5 kg) | MAGNAFLUX | BRC-ST-145 | 2026-02-04 |  | RFU
| Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-313 | 2026-02-05
| Inspect by |  |  | Checked by
| Dani Oktariyanto | Asmawan |  | Dwi Indra |  | A Kusminto

## OCT 2026
JADWAL VERIFIKASI MEASUREMENT 2026
No. | DESCRIPTION SPECIAL TOOL | Nama Alat ukur | Brand | ID ON SITE | Date Inpection | Result (Ok / Not Ok) | Remarks | Last Calibration
1 | Measurment | BLOW BY CHECKER,KOMATSU | KOMATSU (799-201-1506) | BRC-ST-071 | 2026-10-08 | OK | RFU | UNKNOWN
2 | Measurment | BORE GAUGE,100 - 160 MM | MITUTOYO | BRC-ST-085 | 2026-10-08 | PREPARE FOR CALIBRATION | - | UNKNOWN
3 | Measurment | BORE GAUGE,160 - 250 MM | MITUTOYO | BRC-ST-087 | 2026-10-08 | OK | RFU | 2026-08-14
4 | Measurment | BORE GAUGE,18 - 35 MM | MITUTOYO | BRC-ST-089 | 2026-10-08 | OK | RFU | 2026-08-14
5 | Measurment | BORE GAUGE,250 - 400 MM | MITUTOYO | BRC-ST-086 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | 2026-09-05
6 | Measurment | BORE GAUGE,35 - 60 MM | MITUTOYO | BRC-ST-088 | 2026-10-08 | OK | RFU | 2026-08-14
7 | Measurment | BORE GAUGE,35 - 60 MM | MITUTOYO | BRC-ST-298 | 2026-10-08 | OK | RFU | 2026-03-31
8 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-275 | 2026-10-08 | OK | RFU | 2026-08-14
9 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-299 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
10 | Measurment | BORE GAUGE,50 - 150 MM | MITUTOYO | BRC-ST-300 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-06-06
11 | Measurment | CALIPER DIG COOLANT 0-600/0,01MM | MITUTOYO | BRC-ST-323 | 2026-10-08 | PREPARE FOR CALIBRATION | - | UNKNOWN
12 | Measurment | CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-312 | 2026-10-08 | OK | RFU | 2026-08-14
13 | Measurment | CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-319 | 2026-10-08 | OK | RFU | 2026-08-14
14 | Measurment | CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-325 | 2026-10-08 | OK | RFU | 2026-08-14
15 | Measurment | CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-318 | 2026-10-08 | PREPARE FOR CALIBRATION | - | UNKNOWN
16 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-295 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | UNKNOWN
17 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-296 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | UNKNOWN
18 | Measurment | DEEP CALIPER 0-300 MM / 0.05MM | MITUTOYO | BRC-ST-297 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | UNKNOWN
19 | Measurment | DEEP GAUGE 0-100/0.01 MM | MITUTOYO | BRC-ST-254 | 2026-10-08 | OK | RFU | 2026-08-14
20 | Measurment | DIAL GAUGE MAGNETIC SET,23 | MITUTOYO | BRC-ST-098 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | UNKNOWN
21 | Measurment | DIAL GAUGE MAGNETIC SET,24 | MITUTOYO | BRC-ST-099 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | UNKNOWN
22 | Measurment | DIAL GAUGE MAGNETIC SET,25 | MITUTOYO | BRC-ST-100 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | UNKNOWN
23 | Measurment | DIAL GAUGE MAGNETIC SET,26 | MITUTOYO | BRC-ST-101 | 2026-10-08 | REPLACE | - | UNKNOWN
24 | Measurment | DIAL GAUGE MAGNETIC SET,27 | MITUTOYO | BRC-ST-102 | 2026-10-08 | REPLACE | - | UNKNOWN
25 | Measurment | DIAL INDICATOR 0,01 | MITUTOYO | BRC-ST-281 | 2026-10-08 | OK | RFU | UNKNOWN
26 | Measurment | DIAL VERNIER CALIPER 0-200 MM / 0.01MM | MITUTOYO | BRC-ST-278 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-06-06
27 | Measurment | GAUGE,DEPTH,DIGITAL,0-300/0.01 | MITUTOYO | BRC-ST-315 | 2026-10-08 | OK | RFU | 2026-08-14
28 | Measurment | GAUGE,THICKNESS,DIG,0-10/0.01MM,547-301 | MITUTOYO | BRC-ST-326 | 2026-10-08 | OK | RFU | 2026-08-14
29 | Measurment | GAUGE,THICKNESS,DIG,0-10/0.01MM,547-301 | MITUTOYO | BRC-ST-321 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2025-08-07
30 | Measurment | MAGNETIC PARTICEL INSPECTION (MPI 2 kg) | MAGNAFLUX | BRC-ST-151 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | UNKNOWN
31 | Measurment | MAGNETIC PARTICEL INSPECTION (MPI 5 kg) | MAGNAFLUX | BRC-ST-145 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | UNKNOWN
32 | Measurment | MICRO METER 700 - 800 MM | MITUTOYO | BRC-ST-011-10-0423 | 2026-10-08 | PREPARE FOR CALIBRATION | - | UNKNOWN
33 | Measurment | MICRO METER 800 - 900 MM | MITUTOYO | BRC-ST-012-10-0424 | 2026-10-08 | PREPARE FOR CALIBRATION | - | UNKNOWN
34 | Measurment | MICRO METER,0 - 25 MM | MITUTOYO | BRC-ST-077 | 2026-10-08 | OK | RFU | 2026-08-14
35 | Measurment | MICRO METER,0 - 25 MM | MITUTOYO | BRC-ST-303 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
36 | Measurment | MICRO METER,0-150 MM | MITUTOYO | BRC-ST-320 | 2026-10-08 | OK | RFU | 2026-08-14
37 | Measurment | MICRO METER,0-150 MM | MITUTOYO | BRC-ST-328 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
38 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-081 | 2026-10-08 | OK | RFU | 2026-08-14
39 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-306 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-06-06
40 | Measurment | MICRO METER,100 - 125 MM | MITUTOYO | BRC-ST-313 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-06-05
41 | Measurment | MICRO METER,100 - 200 MM | MITUTOYO | BRC-ST-093 | 2026-10-08 | OK | RFU | 2026-08-14
42 | Measurment | MICRO METER,100 - 200 MM | MITUTOYO | BRC-ST-308 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
43 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-082 | 2026-10-08 | PREPARE FOR CALIBRATION | - | UNKNOWN
44 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-307 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
45 | Measurment | MICRO METER,125 - 150 MM | MITUTOYO | BRC-ST-314 | 2026-10-08 | OK | RFU | 2026-08-14
46 | Measurment | MICRO METER,150 - 175 MM | MITUTOYO | BRC-ST-083 | 2026-10-08 | OK | RFU | 2026-08-14
47 | Measurment | MICRO METER,150 - 175 MM | MITUTOYO | BRC-ST-092 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
48 | Measurment | MICRO METER,175 - 200 MM | MITUTOYO | BRC-ST-090 | 2026-10-08 | OK | RFU | 2026-08-14
49 | Measurment | MICRO METER,175 - 200 MM | MITUTOYO | BRC-ST-309 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
50 | Measurment | MICRO METER,200 - 225 MM | MITUTOYO | BRC-ST-096 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | 2025-07-07
51 | Measurment | MICRO METER,200 - 300 MM | MITUTOYO | BRC-ST-316 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | 2024-07-15
52 | Measurment | MICRO METER,225 - 250 MM | MITUTOYO | BRC-ST-094 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | 2025-07-07
53 | Measurment | MICRO METER,25 - 50 MM | MITUTOYO | BRC-ST-078 | 2026-10-08 | OK | RFU | 2026-08-14
54 | Measurment | MICRO METER,25 - 50 MM | MITUTOYO | BRC-ST-304 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
55 | Measurment | MICRO METER,250 - 275 MM | MITUTOYO | BRC-ST-097 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | 2025-07-07
56 | Measurment | MICRO METER,275 - 300 MM | MITUTOYO | BRC-ST-095 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | 2025-07-07
57 | Measurment | MICRO METER,300 - 400 MM | MITUTOYO | BRC-ST-119 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
58 | Measurment | MICRO METER,300 - 400 MM | MITUTOYO | BRC-ST-317 | 2026-10-08 | OK | RFU | 2026-08-14
59 | Measurment | MICRO METER,400 - 500 MM | MITUTOYO | BRC-ST-240 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | 2024-02-07
60 | Measurment | MICRO METER,50 - 75 MM | MITUTOYO | BRC-ST-287 | 2026-10-08 | OK | RFU | 2026-08-14
61 | Measurment | MICRO METER,50 - 75 MM | MITUTOYO | BRC-ST-305 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
62 | Measurment | MICRO METER,500 - 600 MM | MITUTOYO | BRC-ST-290 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | UNKNOWN
63 | Measurment | MICRO METER,600 - 700 MM | MITUTOYO | BRC-ST-241 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2020-08-23
64 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-080 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
65 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-291 | 2026-10-08 | OK | RFU | 2026-03-31
66 | Measurment | MICRO METER,75 - 100 MM | MITUTOYO | BRC-ST-292 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
67 | Measurment | MICRO METER,TUBULAR,0 - 300 MM | MITUTOYO | BRC-ST-079 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
68 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM | MITUTOYO | BRC-ST-198 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
69 | Measurment | MICRO METER,TUBULAR,50 - 1000 MM | MITUTOYO | BRC-ST-302 | 2026-10-08 | OK | RFU | 2026-03-31
70 | Measurment | PUSH FULL SCALE 0-50 Kg/f | IMADA | BRC-ST-288 | 2026-10-08 | OK | RFU | 2026-03-31
71 | Measurment | RADIUS GAUGE (15-30 PRAIS) | MITUTOYO | BRC-ST-277 | 2026-10-08 | MISSING | - | 2026-03-31
72 | Measurment | RADIUS GAUGE (26 PRAIS) | MITUTOYO | BRC-ST-276 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | 2026-03-31
73 | Measurment | SPRING TESTER | CATERPILAR | BRC-ST-062 | 2026-10-08 | OK | RFU | 2026-03-31
74 | Measurment | Square Combination 0-300 mm | MITUTOYO | BRC-ST-267 | 2026-10-08 | OK | RFU | 2026-03-31
75 | Measurment | STAND MAGNETIC | MITUTOYO | BRC-ST-280 | 2026-10-08 | OK | RFU | 2026-03-31
76 | Measurment | STAND MAGNETIC FLEXIBLE | MITUTOYO | BRC-ST-279 | 2026-10-08 | OK | RFU | 2026-03-31
77 | Measurment | TACHOMETER | KOMATSU (799-205-1101) | BRC-ST-072 | 2026-10-08 | OK | RFU | 2026-03-31
78 | Measurment | TETRA GAUGE | CAT | BRC-ST-035-10-0799 | 2026-10-08 | OK | RFU | 2026-03-31
79 | Measurment | TICKNES TOOL,PENGUKUR KETEBALAN | MITUTOYO | BRC-ST-076 | 2026-10-08 | NOT OK | - | 2026-03-31
80 | Measurment | TOOL ,TESTER,HARDNESS,DIG,T,D&PRINT L | KRISBOW | BRC-ST-261 | 2026-10-08 | OK | RFU | 2026-03-31
81 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-310 | 2026-10-08 | TEMPORARY FOR BACK UP | RFU | 2026-03-31
82 | Measurment | VERNIER CALIPER,DIG,ABS,0-100/0.01MM | MITUTOYO | BRC-ST-311 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
83 | Measurment | VERNIER CALIPER,DIG,ABS,0-200/0.01 MM | MITUTOYO | BRC-ST-268 | 2026-10-08 | PREPARE FOR CALIBRATION | - | 2026-03-31
84 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-148 | 2026-10-08 | MISSING | - | UNKNOWN
85 | Measurment | VERNIER CALIPER,DIG,ABS,0-300/0.01 MM | MITUTOYO | BRC-ST-289 | 2026-10-08 | PREPARE FOR CALIBRATION | - | UNKNOWN
86 | Measurment | VERNIER CALIPER 0-500 MM / 0.05MM | MITUTOYO | BRC-ST-324 | 2026-10-08 | OK | RFU | 2026-08-14
87 | Measurment | ROUGHNESS | MITUTOYO | ? | 2026-10-08 | SEND TO VENDOR | - | 2026-08-15